Białystok, 15.04.2025.

Case no: **AZP.25.1.8.2025**

**AMENDMENT TO THE CONTENTS OF THE TERMS OF REFERENCE**

1. The Ordering Party informs that in the proceedings conducted as an open tender for **the delivery of the set comprising two metabolic chambers with equipment and fixture to the Clinical Research Support Centre at the Medical University of Bialystok**, in accordance with Article 137(1) of the Act of 11 September 2019. Public Procurement Law (i.e. Journal of Laws 2024, item 1320), **the Ordering Party shall amend the content of the ToR as follows:**

- in Part XI of the ToR - Period of binding of the tender - point 1 is replaced by the following:

***"1. The Contractor submitting a tender shall be bound by it for no longer than 90 days from the deadline for submission of tenders, i.e. until 27.07.2025."***

- in part XIV of the ToR - Method and deadline for submission of tenders - point 1 is replaced by the following:

***"1. The tender must be submitted by 29.04.2025 by 9.00 a.m."***

- in part XV of the ToR - Deadline for the opening of tenders - point 1 is replaced by the following:

***"1. The tenders will be opened on 29.04.2025 at 09.05."***

**- The Ordering Party is amending the content of Annex 2 to the ToR:**

1. **Characteristics of metabolic chambers and equipment point 7** is replaced by the following**:**

*"*Each chamber shall be adapted to accommodate exercise equipment: stationary bicycle and treadmill (~~listed equipment supplied with the chamber~~). The chamber should be able to connect the above-mentioned equipment and allow monitoring of the patient's metabolic parameters during exercise. In this way, the chamber allows the study of energy expenditure and substrate burning both at rest and during physical activity."

1. **GENERAL REQUIREMENTS point 1** is replaced by the following

"The metabolic chamber is covered by a min. 3 years warranty, which shall commence upon commissioning and shall cover the entire kit, excluding consumables such as filters and calibration gases. The warranty ensures that any defects in the system, resulting from manufacturing or installation errors, will be repaired by the manufacturer."

**- The Ordering Party is amending the content of Annex 4 to the ToR:**

**the assessment of the WARRANTY TERMS** is replaced by the following:

"Guarantee period not less than 36 months

A scoring period of 36 months to 48 months.

NOTES:

the length of the guarantee period must be stated in whole months,

in the event that the Contractor:

- does not enter any guarantee period, the Ordering Party will assume that the Contractor provides the minimum guarantee period (36 months),

- enters the warranty period in incomplete months, the Ordering Party will calculate the warranty period by rounding down,

- enters a warranty period shorter than the minimum (36 months), the Ordering Party will reject the offer as non-compliant."

*The Ordering Party is introducing a new binding document:*

* ***Annexes 2, 4 to the ToR -*** *documents attached.*

1. The amendments are binding on Contractors and the Ordering Party.
2. The remaining provisions of the ToR remain unchanged.
3. The Ordering Party informs that the changes made to the content of the ToR **lead** to changes in the content of the contract notice.

**On behalf of the Ordering Party the Chancellor of the MUB, Konrad Raczkowski, MA** /signature on original/